## Sheet1
Sample Name | Date | Collection Time | Analysis Time 1 | Temp (C) | Conductivity (uS/cm) | Analysis Time 2 | pH | Turbidity (NTU) | Instrument Model/ID | Initials | Notes | QC1 | DE | QC2
RM 0 - No Name Creek | 2015-05-05 | 10:15 | 12:27 |  | 500 |  | 7.71 | 19 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 1.5 - Kenai City Dock | 2015-05-05 | 9:45 | 12:13 |  | 17747 |  | 8.02 | 195 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 6.5 - Cunningham Park | 2015-05-05 | 9:30 | 13:23 |  | 74.6 |  | 7.93 | 406 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 10 - Beaver Creek | 2015-05-05 | 10:45 | 13:10 |  | 169 |  | 7.45 | 19.1 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 10.1 - Kenai River | 2015-05-05 | 10:11 | 13:45 |  | 62.3 |  | 7.53 | 11.1 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 12.5 - Pillars | 2015-05-05 | 11:40 | 13:49 |  | 61.4 |  | 7.96 | 6.95 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 18 - Poachers Cove | 2015-05-05 | 8:14 | 13:25 |  | 64.8 |  | 7.43 | 8.23 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 19 - Slikok Creek | 2015-05-05 | 12:30 | 14:05 |  | 95.6 |  | 7.29 | 3.26 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 21 - Soldotna Bridge | 2015-05-05 | 13:15 | 14:12 |  | 57.8 |  | 8.81 | 7.45 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 22 - Soldotna Creek | 2015-05-05 | 9:25 | 14:06 |  | 113.4 |  | 7.83 | 4.64 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 23 - Swiftwater Park | 2015-05-05 | 11:09 | 14:10 |  | 58 |  | 8.3 |  |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 30 - Funny River | 2015-05-05 | 9:00 |  |  | 72.1 |  | 7.23 | 39.42 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 31 - Morgan's Landing | 2015-05-05 | 10:00 | 12:00 |  | 69.5 |  | 7.52 | 8.32 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 36 - Moose River | 2015-05-05 | 10:40 | 12:06 |  | 95.2 |  | 7.42 | 5.43 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 40 - Bing's Landing | 2015-05-05 | 11:26 | 1:15 |  | 63.9 |  | 7.52 | 9.99 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 43 - Upstream of Dow Island | 2015-05-05 | 10:53 | 13:37 |  | 57.2 |  | 7.57 | 10.9 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 44 - Mouth of Killey River | 2015-05-05 | 10:23 | 13:19 |  | 59.7 |  | 7.29 | 4.59 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 50 - Skilak Lake Outflow | 2015-05-05 | 7:53 |  |  | 55.6 |  | 8.38 | 12.1 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 70 - Jim's Landing | 2015-05-05 | 10:30 | 11:55 |  | 82.5 |  | 7.52 | 6.93 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 74 - Russian River | 2015-05-05 | 9:53 | 11:49 |  | 79.5 |  | 7.45 | 0 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 82 - Kenai Lake Bridge | 2015-05-05 | 9:06 | 11:44 |  | 86.8 |  | 7.27 | 9.07 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 79.5 - Juneau Creek | 2015-05-05 | [8 empty] | KWF/KPTU | Did not sample | BH 20220805 | BH 20220805
RM 1.5 - Kenai City Dock - DUP | 2015-05-05 | 9:15 | 11:44 |  | 17673 |  | 8 | 142 |  | KWF/KPTU | Analysis Time 1 is for cond. Readings and Analysis Time 2 is for pH & Turb. Readings | BH 20220805 | BH 20220805
RM 12.5 - Pillars - DUP | 2015-05-05 | 11:58 | 13:42 |  | 61.7 |  | 7.67 | 6.87 |  | KWF/KPTU | turb. QA is located in margin of physical document | BH 20220805 | BH 20220805