## Sheet1
Sample Name | Date | Collection Time | Analysis Time 1 | Temp (C) | Conductivity (uS/cm) | Analysis Time 2 | pH | Turbidity (NTU) | Instrument Model/ID | Initials | Notes | QC1 | DE | QC2
RM 0 - No Name Creek | 2014-07-22 |  | 12:22 | 17.18 | 110.5 | 12:15 | 7.41 | 20.1 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 1.5 - Kenai City Dock | 2014-07-22 |  | 12:19 | 17.02 | 120 | 12:20 | 7.33 | 335 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 6.5 - Cunningham Park | 2014-07-22 |  | 11:04 | 15.08 | 57.1 | 11:01 | 7.41 | 14.3 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 10 - Beaver Creek | 2014-07-22 |  | 10:45 | 18.04 | 95.5 | 10:41 | 7.29 | 13.3 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 10.1 - Kenai River | 2014-07-22 |  | 11:01 | 16 | 56.4 | 10:51 | 7.47 | 26.4 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 12.5 - Pillars | 2014-07-22 |  | 11:08 | 15.93 | 56.9 | 11:05 | 7.41 | 9.82 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 18 - Poachers Cove | 2014-07-22 |  | 10:49 | 16.23 | 56.9 | 10:44 | 7.39 | 10.8 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 19 - Slikok Creek | 2014-07-22 |  | 11:42 | 16.6 | 117 | 11:36 | 7.24 | 5.44 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 21 - Soldotna Bridge | 2014-07-22 |  | 11:45 | 16.87 | 55.6 | 11:40 | 7.37 | 10.8 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 22 - Soldotna Creek | 2014-07-22 |  | 10:31 | 16.78 | 113.5 | 10:14 | 7.46 | 3.39 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 23 - Swiftwater Park | 2014-07-22 |  | 10:25 | 17.2 | 60.9 | 10:20 | 7.51 | 10.9 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 30 - Funny River | 2014-07-22 |  | 12:59 | 17.01 | 71.3 | 13:01 | 7.43 | 4.4 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 31 - Morgan's Landing | 2014-07-22 | [9 empty] | This line is struck out on the datasheet. Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 36 - Moose River | 2014-07-22 | [9 empty] | Left blank on datasheet. Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 40 - Bing's Landing | 2014-07-22 |  | 12:34 | 16.99 | 55.9 | 12:35 | 7.42 | 10.5 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 43 - Upstream of Dow Island | 2014-07-22 |  | 12:38 | 17.03 | 52.7 | 12:40 | 7.38 | 13.3 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 44 - Mouth of Killey River | 2014-07-22 |  | 12:30 | 16.87 | 26.6 | 12:31 | 7.35 | 66.3 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 50 - Skilak Lake Outflow | 2014-07-22 |  | 12:32 | 14.64 | 57 | 12:28 | 7.52 | 9.64 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 70 - Jim's Landing | 2014-07-22 |  | 11:51 | 15.72 | 67.3 | 11:44 | 7.36 | 23.6 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 74 - Russian River | 2014-07-22 |  | 11:56 | 16.94 | 73.7 | 11:48 | 7.41 | 0.6 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 82 - Kenai Lake Bridge | 2014-07-22 |  | 11:58 | 16.21 | 65.7 | 11:53 | 7.37 | 18.6 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 18 - Poachers Cove - DUP | 2014-07-22 |  | 10:55 | 16.17 | 56.2 | 10:52 | 7.48 | 10.8 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809
RM 1.5 - Kenai City Dock - DUP | 2014-07-22 |  | 12:15 | 16.53 | 103.5 | 12:10 | 7.41 | 137 |  |  | Analysis Time 1 is for temp. & cond. and analysis time 2 is for pH and turb. | BH 20220809 | BH 20220809